3

[image: image1.jpg]


[image: image2.jpg]


         2018 Annual Drinking Water Quality Report

City of Mascotte

We’re very pleased to provide you with this year’s Annual Water Quality Report.  We want to keep you informed about the excellent water and services we have delivered to you over the past year.  Our goal is and always has been, to provide to you a safe and dependable supply of drinking water.  Our water source is ground water from wells. The wells draw from the Floridian Aquifer. We treat the water using chlorination for disinfection and feed a polyphosphate for corrosion control.
· We are pleased to report that our drinking water meets all federal and state requirements.

In 2018 the Department of Environmental Protection performed a Source Water Assessment on our system.  The assessment was conducted to provide information about any potential sources of contamination in the vicinity of our wells.  There are 4 potential sources of contamination identified for this system with a low to moderate susceptibility level.  The assessment results are available on the FDEP Source Water Assessment and Protection Program website at www.dep.state.fl.us/swapp or they can be obtained from Larry Walker at (352) 429-4429.
If you have any questions about this report or concerning your water utility, please contact Larry Walker at (352) 429-4429. We encourage our valued customers to be informed about their water utility. We have public meetings the first Tuesday of every month at 6:30PM at 121 North Sunset Avenue.
The City of Mascotte routinely monitors for contaminants in your drinking water according to Federal and State laws, rules, and regulations.  Except where indicated otherwise, this report is based on the results of our monitoring for the period of January 1 to December 31, 2018.  Data obtained before January 1, 2018, and presented in this report are from the most recent testing done in accordance with the laws, rules, and regulations. 

In the table below, you may find unfamiliar terms and abbreviations.  To help you better understand these terms we’ve provided the following definitions:

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

\Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Maximum residual disinfectant level or MRDL:  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum residual disinfectant level goal or MRDLG:  The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs to not reflect the benefits of the use of disinfectants to control microbial contaminants.

Initial Distribution System Evaluation (IDSE):  An important part of the Stage 2 Disinfection Byproducts Rule (DBPR).  The IDSE is a one-time study conducted by water systems to identify distribution system locations with high concentrations of trihalomethanes (THMs) and halo acetic acids (HAAs). Water systems will use results from the IDSE, in conjunction with their Stage 1 DBPR compliance monitoring data, to select compliance monitoring locations for the Stage 2 DBPR.

“ND” means not detected and indicates that the substance was not found by laboratory analysis.  

Parts per million (ppm) or Milligrams per liter (mg/l) – one part by weight of analyte to 1 million parts by weight of the water sample.

Parts per billion (ppb) or Micrograms per liter (µg/l) – one part by weight of analyte to 1 billion parts by weight of the water sample.

Picocurie per liter (pCi/L) - measure of the radioactivity in water.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

(A)
Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

(B)
Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

(C)
Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

(D)
Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also, come from gas stations, urban storm water runoff, and septic systems.

(E)
Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

Test Result Table

	Contaminant and Unit of Measurement
	Dates of sampling (mo. /yr.)
	MCL Violation Y/N
	Level Detected
	Range of Results
	MCLG
	MCL
	Likely Source of Contamination

	Radiological Contaminants

	      Radium 226 + 228 or combined radium (pCi/L)
	4/17
	N
	1.8
	1.1-1.8
	0
	5
	Erosion of natural deposits

	Contaminant and Unit of Measurement
	Dates of sampling (mo. /yr.)
	MCL Violation Y/N
	Level Detected
	Range of Results
	MCLG
	MCL
	Likely Source of Contamination

	Inorganic Contaminants 

	           Arsenic (ppb)
	4/17
	N
	2.1
	ND-2.1
	0
	10
	Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes

	Barium (ppm)
	4/17
	N
	.0056
	.0055-.0056
	2
	2
	Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits

	Chromium (ppb)
	4/17
	N
	1.7
	1.6-1.7
	100
	100
	Discharge from steel and pulp mills; erosion of natural deposits

	          Nitrate (as Nitrogen) (ppm)
	5/18
	N
	.535
	N/A
	10
	10
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	         Selenium (ppb)
	4/17
	N
	2.6
	Nd-2.6
	50
	50
	Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines

	Sodium (ppm)
	4/17
	N
	7.17
	6.08-7.17
	N/A
	160
	Salt water intrusion, leaching from soil

	

	Stage 2 Disinfectants and Disinfection By-Products

	For bromate, chloramines, or chlorine, the level detected is the the highest running annual average (RAA), computed quarterly, of monthly averages of all samples collected.  For halo acetic acids or TTHM, the level detected is the highest RAA, computed quarterly, of quarterly averages of all samples collected if the system is monitoring quarterly or is the average of all samples taken during the year if the system monitors less frequently than quarterly.  Range of Results is the range of individual sample results (lowest to highest) for all monitoring locations, including Initial Distribution System Evaluation (IDSE) results as well as Stage 1 compliance results. 



	Disinfectant or Contaminant and Unit of Measurement
	Dates of sampling (mo. /yr.)
	MCL or MRDL Violation Y/N
	Level Detected
	Range of Results
	MCLG or MRDLG
	MCL or MRDL
	Likely Source of Contamination

	Chlorine (ppm)
	1/2018-12/2018
	N
	1.62
	1.24-1.83
	MRDLG = 4
	MRDL = 4.0
	Water additive used to control microbes

	Halo acetic Acids (five) (HAA5) (ppb)
	   9/2018
	N
	31.9
	NA
	NA
	MCL = 60
	By-product of drinking water disinfection

	TTHM [Total trihalomethanes] (ppb)
	9/2018
	N
	36.2
	NA
	NA
	MCL = 80
	By-product of drinking water disinfection


	Contaminant and Unit of Measurement
	Dates of sampling (mo. /yr.)
	AL Violation Y/N
	90th Percentile Result
	No. of sampling sites exceeding the AL
	MCLG
	AL (Action Level)
	Likely Source of Contamination

	Lead and Copper (Tap Water)

	Copper (tap water) (ppm)
	8/17
	N
	.602
	0
	1.3
	1.3
	Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	Lead (tap water) (ppb)
	8/17
	N
	1.3
	0
	0
	15
	Corrosion of household plumbing systems, erosion of natural deposits

	


If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The City of Mascotte is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

In order to ensure that tap water is safe to drink, the EPA prescribes regulations, which limit the amount of certain contaminants in water provided by public water systems.  The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

We at the City of Mascotte would like you to understand the efforts we make to continually improve the water treatment process and protect our water resources.  We are committed to insuring the quality of your water.  If you have any questions or concerns about the information provided, please feel free to call us at (352) 429-4429.

